## Slide 1
Module 7:
Carbon monoxide monitoring
Community mental health tobacco treatment training

## Slide 2
Carbon monoxide monitoring
Notes: Cigarette smoke contains: nicotine, tar, carbon monoxide (CO), and thousands of other toxins.
Nicotine is relatively harmless, or else we wouldn’t have nicotine replacement therapy (patches, gum etc). In fact, the main problem with nicotine is that it is addictive and is the reason why people keep on smoking despite knowing the harms of smoking and wanting to stop.
But the tar, carbon monoxide and toxins in tobacco smoke is what causes harm and leads to smoking-related illness.
We are now going to look in more detail at carbon monoxide monitoring and its role as a motivational tool.

## Slide 3: Carbon monoxide monitoring
CO monitors measure the amount of carbon monoxide in expired breath, displayed as parts per million (ppm)
CO monitors detect exposure to smoke in the previous 24 – 48 hours
Patients are required to hold their breath for 15 seconds (minimum 10 seconds) to equalize pressure in the lungs and allow CO to transfer between blood and lungs
Smoker reading = above 10ppm
Motivational tool, chart progress
Notes: CO testing Demonstration
We will briefly demonstrate how to conduct a CO test with patients. There are a variety of devices available but they essentially all work in the same way.
For patient who may suffer from anxiety, you will want to be conscious to explain the test slowly, allow them to take their time and as needed conduct the test when they feel comfortable doing so (possibly later I the session) or at the next session.
A - FOR VIRTUAL COURSE:
Option 1: Live Demonstration
Equipment needed: CO monitor, disposable tubes, non alcoholic wipes
Trainer demonstrates how the device is used by conducting test on themselves (one trainer will demonstrate).
How to turn it on
How to insert mouth piece
How to start test
Take deep breath (hold for 15 seconds while monitor counts down)
Monitor beeps last 3 seconds, pass the client
Advise client to exhale slowly aiming to empty their lungs of air
Show where the result is displayed on the monitor
Dispose of monitor
- Brief review of infection control practices (patient inserts and removes tube, and disposes in garbage)
Option 2: Film Clip
The video clip we are about to watch provides a demonstration on how CO testing is conducted.
Play video: https://elearning.ncsct.co.uk/vbaplus_homelessness-stage_29
After video highlight the following:
Hold breath for 15 seconds
Need for the tight seal
Show client their reading
You may wish to use a CO reading chart to clients (in particular those reducing to quit)
Mention infection control practices (patient inserts and removes tube, and disposes in garbage). Note this is not included in film clip.
B – FACE-TO-FACE COURSE:
Live demonstration by trainers:
Equipment needed: CO monitor, disposable tubes, non alcoholic wipes
One playing role of client and the other the practitioner). Repeat instructions above for trainer demonstration.
Participant CO-testing practice skills:
Equipment needed: Multiple CO monitors (ideally 4-5), disposable tubes (for each participant or half of group)
Participants who have not previously used monitor are offered opportunity to use device on themselves or another participant (playing the role of the practitioner).
Protocols are followed for cleaning device i.e. new tube for each person, tube disposed of by individual, device cleaned with non alcoholic wipe between tests).
Activity, CO monitor demonstration: Module 3 manual, page X.
There are a number of CO monitors available and you should follow the instruction accompanying these machines, and local infection control procedures. These actions are fairly common to all monitors however.
Infection control
Mouthpiece is for single use only
Dispose of mouthpiece by asking client to remove and immediately throw into bin
Change ‘D’ piece as per instructions (this is the one-way bacteria filter)
Use recommended compatible wipes
Use of alcohol wipes can affect the electrochemical sensors
  Can cause permanent damage
  Affect reading giving false positive/negative readings
Before the test
When introducing the test to clients it can be helpful to explain how the test works:
“This machine measures the amount of carbon monoxide in your lungs in parts per million. Carbon monoxide is a poisonous gas inhaled by people who smoke cigarettes and it causes heart disease and other serious health issues. This CO test will give us an indication of how much carbon monoxide is circulating in your body. It provides you will with visible proof of the harm smoking is doing to your body.“
After the test
The monitor is showing a reading of “X”. The normal range for a non-smoker is between 1 and 5 ppm and so you can see that your reading is “X times” or “much” higher much than the normal healthy levels. The good news is that when you get to the point of quitting completely this will quickly come down to the levels of a healthy non-smoker. This is a nice way for us to see the benefits of quitting smoking on your health. We will repeat the test each week but would expect the reading to be over 5ppm until you stop completely.”
CO has a relatively short half life (4 hours) and is eliminated fairly quickly from the bodies of smokers - hence CO monitors can only tell us about recent exposure to tobacco smoke and not whether someone is a smoker or not.
For CO screening to be conducted properly, clients must hold their breath for 15 seconds before blowing into the CO monitor; this allows time for the CO in the blood to pass into the air in the lungs.
CO is used as a tool for validation but equally important it is also a motivational tool, the patient seeing objective proof of toxins leaving the body is motivational for them\\
CO monitors measure the amount of carbon monoxide in expired breath, displayed as part per million (ppm)
CO monitors detect exposure to smoke in the previous 24 – 48 hours
Clients are required to hold their breath for 15 seconds (minimum 10 seconds) to equalize pressure in the lungs and allow CO to transfer between blood and lungs
Smoker reading = above 10ppm
Motivational tool, chart progress
1. Both the client and the stop smoking practitioner should use sanitiser gel (non-alcoholic) on their hands before the test
2. Attach a clean, disposable, mouthpiece (a fresh one for each person) to the monitor
3. Turn the machine on
4. Ask the client to take a deep breath
5. The monitor will count down 15 seconds and beep during the last 3 seconds
6. The client needs to exhale slowly into the mouthpiece aiming to empty their lungs completely
7. The parts per million (ppm) of carbon monoxide in the lungs will be displayed on the screen
8. The mouthpiece should be removed by the client themselves and disposed of in a refuse sack, which is tied before being placed in another bag for collection (double bagging) to prevent domestic staff touching the mouthpieces
9. The CO monitor should be cleaned between tests using a non-alcoholic wipe